July 2014 installation:

CS serial  number:  DK5649

ethernet:  8.10.12.0.1

router info:

ip = 192.168.1.1

subnet mask = 255.255.255.0

old computer: Successful  setup:

cs select CAU, IP = 192.168.1.29

______________________________

disable wireless network.  Then, only one NIC adapter found – 169.254.115.74  (ethernet lan)

link test just blank  --can't get pass or fail.

192.168.1.29